## Barras
Bus_No | Bus_Code | V_pu | V_th | Gen_MW | Gen_Mvar | Load_MW | Load_Mvar
1 | 1 | 1.06 | 0 | 0 | 0 | 0 | 0
2 | 2 | 1.045 | 0 | 40 | 42.4 | 21.7 | 12.7
3 | 2 | 1.01 | 0 | 0 | 23.4 | 94.2 | 19
4 | 0 | 1 | 0 | 0 | 0 | 47.8 | 0
5 | 0 | 1 | 0 | 0 | 0 | 7.6 | 1.6
6 | 2 | 1.07 | 0 | 0 | 12.2 | 11.2 | 7.5
7 | 0 | 1 | 0 | 0 | 0 | 0 | 0
8 | 2 | 1.09 | 0 | 0 | 17.4 | 0 | 0
9 | 0 | 1 | 0 | 0 | 0 | 29.5 | 16.6
10 | 0 | 1 | 0 | 0 | 0 | 9 | 5.8
11 | 0 | 1 | 0 | 0 | 0 | 3.5 | 1.8
12 | 0 | 1 | 0 | 0 | 0 | 6.1 | 1.6
13 | 0 | 1 | 0 | 0 | 0 | 13.5 | 5.8
14 | 0 | 1 | 0 | 0 | 0 | 14.9 | 5
Barras: 1 - Slack 2 - PV 0 - PQ

## Linhas
From_Bus | To_Bus | R_pu | X_pu | B_pu | Tap_pu
1 | 2 | 0.01938 | 0.05917 | 0.0528 | 1
2 | 3 | 0.04699 | 0.19797 | 0.0438 | 1
2 | 4 | 0.05811 | 0.17632 | 0.0374 | 1
1 | 5 | 0.05403 | 0.22304 | 0.0492 | 1
2 | 5 | 0.05695 | 0.17388 | 0.034 | 1
3 | 4 | 0.06701 | 0.17103 | 0.0346 | 1
4 | 5 | 0.01335 | 0.04211 | 0.0128 | 1
5 | 6 | 0 | 0.25202 | 0 | 0.932
4 | 7 | 0 | 0.20912 | 0 | 0.978
7 | 8 | 0 | 0.17615 | 0 | 1
4 | 9 | 0 | 0.55618 | 0 | 0.969
7 | 9 | 0 | 0.11001 | 0 | 1
9 | 10 | 0.03181 | 0.0845 | 0 | 1
6 | 11 | 0.09498 | 0.1989 | 0 | 1
6 | 12 | 0.12291 | 0.25581 | 0 | 1
6 | 13 | 0.06615 | 0.13027 | 0 | 1
9 | 14 | 0.12711 | 0.27038 | 0 | 1
10 | 11 | 0.8205 | 0.19207 | 0 | 1
12 | 13 | 0.22092 | 0.19988 | 0 | 1
13 | 14 | 0.17093 | 0.34802 | 0 | 1
COLOCAR SEMPRE A SUSCEPTÂNCIA SHUNT TOTAL DA LINHA (Line charging *2)

## Ohms2Pu
| S_base | V_base | Z_base |  | From | To | R_pu | X_pu
| 100000000 | 370000 | 1369 |  | 1 | 2 | 0.0043828 | 0.036523
From | To | R_ohm | X_ohm | Z_ohm
1 | 2 | 6 | 50 | 6+50j

## Planilha2
Bus_No | Bus Voltage |  | Generation |  | Load |  | Line | Between Buses | Line impedance |  | Half Line Charging Susceptance per unit | Transformer | Between Buses | Tap Setting | Bus_No | Bus_Code | V_pu | V_th | Gen_MW | Gen_Mvar | Load_MW | Load_Mvar | From_Bus | To_Bus | R_pu | X_pu | B_pu | Tap_pu
/ | Magnitude Per Unit | Phase Angle Degrees | Real | Reactive MVAR | Real | Reactive MVAR | No |  | R per unit | X per unit |  | 1 | 4 - 7 | 0.978 | 1 | 1 | 1.060 | 0 | 232.4 | - 16.9 | 0 | 0 | 1 | 2 | 0.01938 | 0.05917 | 0.0528 | 1
|  |  | MW |  | MW |  | 1 | 1 – 2 | 0.01938 | 0.05917 | 0.0264 | 2 | 4 - 9 | 0.969 | 2 | 2 | 1.045 | -4.98 | 40.0 | 42.4 | 21.7 | 12.7 | 2 | 3 | 0.04699 | 0.19797 | 0.0438 | 1
1 | 1.060 | 0 | 232.4 | - 16.9 | 0 | 0 | 2 | 2 – 3 | 0.04699 | 0.19797 | 0.0219 | 3 | 5 - 6 | 0.932 | 3 | 2 | 1.010 | -12.72 | 0 | 23.4 | 94.2 | 19.0 | 2 | 4 | 0.05811 | 0.17632 | 0.0374 | 1
2 | 1.045 | -4.98 | 40.0 | 42.4 | 21.7 | 12.7 | 3 | 2 – 4 | 0.05811 | 0.17632 | 0.0187 |  |  |  | 4 | 0 | 1.019 | - 10.33 | 0 | 0 | 47.8 | 3.9 | 1 | 5 | 0.05403 | 0.22304 | 0.04922 | 1
3 | 1.010 | -12.72 | 0 | 23.4 | 94.2 | 19.0 | 4 | 1 – 5 | 0.05403 | 0.22304 | 0.02461 |  |  |  | 5 | 0 | 1.020 | - 8.78 | 0 | 0 | 7.6 | 1.6 | 2 | 5 | 0.05695 | 0.17388 | 0.034 | 1
4 | 1.019 | - 10.33 | 0 | 0 | 47.8 | 3.9 | 5 | 2 – 5 | 0.05695 | 0.17388 | 0.017 |  |  |  | 6 | 2 | 1.070 | - 14.22 | 0 | 12.2 | 11.2 | 7.5 | 3 | 4 | 0.06701 | 0.17103 | 0.0346 | 1
5 | 1.020 | - 8.78 | 0 | 0 | 7.6 | 1.6 | 6 | 3 – 4 | 0.06701 | 0.17103 | 0.0173 |  |  |  | 7 | 0 | 1.062 | - 13.37 | 0 | 0 | 0 | 0 | 4 | 5 | 0.01335 | 0.04211 | 0.0128 | 1
6 | 1.070 | - 14.22 | 0 | 12.2 | 11.2 | 7.5 | 7 | 4 – 5 | 0.01335 | 0.04211 | 0.0064 |  |  |  | 8 | 2 | 1.090 | - 13.36 | 0 | 17.4 | 0 | 0 | 5 | 6 | 0 | 0.25202 | 0 | 0.932
7 | 1.062 | - 13.37 | 0 | 0 | 0 | 0 | 8 | 5 – 6 | 0 | 0.25202 | 0 |  |  |  | 9 | 0 | 1.056 | - 14.94 | 0 | 0 | 29.5 | 16.6 | 4 | 7 | 0 | 0.20912 | 0 | 0.978
8 | 1.090 | - 13.36 | 0 | 17.4 | 0 | 0 | 9 | 4 – 7 | 0 | 0.20912 | 0 |  |  |  | 10 | 0 | 1.051 | - 15.10 | 0 | 0 | 9.0 | 5.8 | 7 | 8 | 0 | 0.17615 | 0 | 1
9 | 1.056 | - 14.94 | 0 | 0 | 29.5 | 16.6 | 10 | 7 – 8 | 0 | 0.17615 | 0 |  |  |  | 11 | 0 | 1.057 | - 14.79 | 0 | 0 | 3.5 | 1.8 | 4 | 9 | 0 | 0.55618 | 0 | 0.969
10 | 1.051 | - 15.10 | 0 | 0 | 9.0 | 5.8 | 11 | 4 – 9 | 0 | 0.55618 | 0 |  |  |  | 12 | 0 | 1.055 | - 18.07 | 0 | 0 | 6.1 | 1.6 | 7 | 9 | 0 | 0.11001 | 0 | 1
11 | 1.057 | - 14.79 | 0 | 0 | 3.5 | 1.8 | 12 | 7 – 9 | 0 | 0.11001 | 0 |  |  |  | 13 | 0 | 1.050 | - 15.16 | 0 | 0 | 13.5 | 5.8 | 9 | 10 | 0.03181 | 0.08450 | 0 | 1
12 | 1.055 | - 18.07 | 0 | 0 | 6.1 | 1.6 | 13 | 9 – 10 | 0.03181 | 0.08450 | 0 |  |  |  | 14 | 0 | 1.036 | - 16.04 | 0 | 0 | 14.9 | 5.0 | 6 | 11 | 0.09498 | 0.19890 | 0 | 1
13 | 1.050 | - 15.16 | 0 | 0 | 13.5 | 5.8 | 14 | 6 – 11 | 0.09498 | 0.19890 | 0 | [11 empty] | 6 | 12 | 0.12291 | 0.25581 | 0 | 1
14 | 1.036 | - 16.04 | 0 | 0 | 14.9 | 5.0 | 15 | 6 – 12 | 0.12291 | 0.25581 | 0 | [11 empty] | 6 | 13 | 0.06615 | 0.13027 | 0 | 1
[7 empty] | 16 | 6 – 13 | 0.06615 | 0.13027 | 0 | [11 empty] | 9 | 14 | 0.12711 | 0.27038 | 0 | 1
[7 empty] | 17 | 9 – 14 | 0.12711 | 0.27038 | 0 | [11 empty] | 10 | 11 | 0.8205 | 0.19207 | 0 | 1
[7 empty] | 18 | 10 – 11 | 0.8205 | 0.19207 | 0 | [11 empty] | 12 | 13 | 0.22092 | 0.19988 | 0 | 1
[7 empty] | 19 | 12 – 13 | 0.22092 | 0.19988 | 0 | [11 empty] | 13 | 14 | 0.17093 | 0.34802 | 0 | 1
[7 empty] | 20 | 13 – 14 | 0.17093 | 0.34802 | 0
Barras: 1 - Slack 2 - PV 0 - PQ

## Planilha3
Bus | V_pu | Deg | Gen_MW | Gen_Mvar | Load_MW | Load_Mvar | Line No | From | To | R_pu | X_pu | B_pu/2 |  | Transformer | Between Buses | Tap Setting | Bus_No | Bus_Code | V_pu | V_th | Gen_MW | Gen_Mvar | Load_MW | Load_Mvar
1 | 1.06 | 0.0 | 232.4 | -16.9 | 0.0 | 0.0 | 1 | 1 | 2 | 0.01938 | 0.005917 | 0.00264 | 1e-06 | 1 | 4-7 | 0.978 | 1 | 2 | 1.01 | -12.72 | 0.0 | 23.4 | 94.2 | 19.0
2 | 1.045 | -4.98 | 40.0 | 42.4 | 21.7 | 12.7 | 2 | 2 | 3 | 0.004699 | 0.019797 | 0.00219 |  | 2 | 4-9 | 0.969 | 2 | 2 | 1.019 | -10.33 | 0.0 | 0.0 | 47.8 | 3.9
3 | 1.01 | -12.72 | 0.0 | 23.4 | 94.2 | 19.0 | 3 | 2 | 4 | 0.005811 | 0.017632 | 0.00187 |  | 3 | 5-6 | 0.932 | 3 | 2 | 1.02 | -8.78 | 0.0 | 0.0 | 7.6 | 1.6
4 | 1.019 | -10.33 | 0.0 | 0.0 | 47.8 | 3.9 | 4 | 1 | 5 | 0.005403 | 0.022304 | 0.00246 |  |  |  |  | 4 | 2 | 1.07 | -14.22 | 0.0 | 12.2 | 11.2 | 7.5
5 | 1.02 | -8.78 | 0.0 | 0.0 | 7.6 | 1.6 | 5 | 2 | 5 | 0.005695 | 0.017388 | 0.0017 |  |  |  |  | 5 | 2 | 1.062 | -13.37 | 0.0 | 0.0 | 0.0 | 0.0
6 | 1.07 | -14.22 | 0.0 | 12.2 | 11.2 | 7.5 | 6 | 3 | 4 | 0.006701 | 0.017103 | 0.00173 |  |  |  |  | 6 | 2 | 1.09 | -13.36 | 0.0 | 17.4 | 0.0 | 0.0
7 | 1.062 | -13.37 | 0.0 | 0.0 | 0.0 | 0.0 | 7 | 4 | 5 | 0.001335 | 0.004211 | 6.4e-05 |  | 2640 | 5695 | 5917 | 7 | 2 | 1.056 | -14.94 | 0.0 | 0.0 | 29.5 | 16.6
8 | 1.09 | -13.36 | 0.0 | 17.4 | 0.0 | 0.0 | 8 | 5 | 6 | 0 | 0.025202 | 0 |  | 2190 | 6701 | 19797 | 8 | 2 | 1.051 | -15.10 | 0.0 | 0.0 | 9.0 | 5.8
9 | 1.056 | -14.94 | 0.0 | 0.0 | 29.5 | 16.6 | 9 | 4 | 7 | 0 | 0.020912 | 0 |  | 1870 | 1335 | 17632 | 9 | 2 | 1.057 | -14.79 | 0.0 | 0.0 | 3.5 | 1.8
10 | 1.051 | -15.10 | 0.0 | 0.0 | 9.0 | 5.8 | 10 | 7 | 8 | 0 | 0.017615 | 0 |  | 2460 | 0 | 22304 | 10 | 2 | 1.055 | -18.07 | 0.0 | 0.0 | 6.1 | 1.6
11 | 1.057 | -14.79 | 0.0 | 0.0 | 3.5 | 1.8 | 11 | 4 | 9 | 0 | 0.055618 | 0 |  | 1700 | 0 | 17388 | 11 | 2 | 1.05 | -15.16 | 0.0 | 0.0 | 13.5 | 5.8
12 | 1.055 | -18.07 | 0.0 | 0.0 | 6.1 | 1.6 | 12 | 7 | 9 | 0 | 0.011001 | 0 |  | 1730 | 0 | 17103 | 12 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | 1.05 | -15.16 | 0.0 | 0.0 | 13.5 | 5.8 | 13 | 9 | 10 | 0.003181 | 0.00845 | 0 |  | 64 | 0 | 4211 | 13 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | 1.036 | -16.04 | 0.0 | 0.0 | 14.9 | 5.0 | 14 | 6 | 11 | 0.009498 | 0.01989 | 0 |  | 0 | 0 | 25202 | 14 | 2 | 1.036 | -16.04 | 0.0 | 0.0 | 14.9 | 5.0
[7 empty] | 15 | 6 | 12 | 0.012291 | 0.025581 | 0 |  | 0 | 3181 | 20912
[7 empty] | 16 | 6 | 13 | 0.006615 | 0.013027 | 0 |  | 0 | 9498 | 17615
[7 empty] | 17 | 9 | 14 | 0.012711 | 0.027038 | 0 |  | 0 | 12291 | 55618
[7 empty] | 18 | 10 | 11 | 0.008205 | 0.019207 | 0 |  | 0 | 6615 | 11001
[7 empty] | 19 | 12 | 13 | 0.022092 | 0.019988 | 0 |  | 0 | 12711 | 8450
[7 empty] | 20 | 13 | 14 | 0.017093 | 0.034802 | 0 |  | 0 | 8205 | 19890
[14 empty] | 0 | 22092 | 25581
[14 empty] | 0 | 17093 | 13027
[14 empty] | 0 |  | 27038
[14 empty] | 0 |  | 19207
[14 empty] | 0 |  | 19988
[14 empty] | 0 |  | 34802

## Planilha4
Bus No. | Bus Voltage |  | Generation |  | Load |  | Line No | Between Buses |  | Line impedance |  | Line Charging Susceptance per unit |  | Transformer | Between Buses | Tap Setting | Bus_No | Bus_Code | V_pu | V_th | Gen_MW | Gen_Mvar | Load_MW | Load_Mvar | From_Bus | To_Bus | R_pu | X_pu | B_pu | Tap_pu
| Magnitude Per Unit | Phase Angle Degrees | Real MW | Reactive MVAR | Real MW | Reactive MVAR |  |  |  | R per unit | X per unit |  | 2 | 1 | 4 - 7 | 0.978 | 1 | 1 | 1.06 | 0 | 232.4 | -16.9 | 0 | 0 | 1 | 2 | 0.01938 | 0.05917 | 0.0528 | 1
1 | 1.06 | 0 | 232.4 | -16.9 | 0 | 0 | 1 | 1 | 2 | 0.01938 | 0.05917 | 0.0528 | 0.0264 | 2 | 4 - 9 | 0.969 | 2 | 2 | 1.045 | -4.98 | 40 | 42.4 | 21.7 | 12.7 | 2 | 3 | 0.04699 | 0.19797 | 0.0438 | 1
2 | 1.045 | -4.98 | 40 | 42.4 | 21.7 | 12.7 | 2 | 2 | 3 | 0.04699 | 0.19797 | 0.0438 | 0.0219 | 3 | 5 - 6 | 0.932 | 3 | 2 | 1.01 | -12.72 | 0 | 23.4 | 94.2 | 19 | 2 | 4 | 0.05811 | 0.17632 | 0.0374 | 1
3 | 1.01 | -12.72 | 0 | 23.4 | 94.2 | 19 | 3 | 2 | 4 | 0.05811 | 0.17632 | 0.0374 | 0.0187 |  |  |  | 4 | 0 | 1.019 | -10.33 | 0 | 0 | 47.8 | 3.9 | 1 | 5 | 0.05403 | 0.22304 | 0.0492 | 1
4 | 1.019 | -10.33 | 0 | 0 | 47.8 | 3.9 | 4 | 1 | 5 | 0.05403 | 0.22304 | 0.0492 | 0.0246 |  |  |  | 5 | 0 | 1.02 | -8.78 | 0 | 0 | 7.6 | 1.6 | 2 | 5 | 0.05695 | 0.17388 | 0.034 | 1
5 | 1.02 | -8.78 | 0 | 0 | 7.6 | 1.6 | 5 | 2 | 5 | 0.05695 | 0.17388 | 0.034 | 0.017 |  |  |  | 6 | 2 | 1.07 | -14.22 | 0 | 12.2 | 11.2 | 7.5 | 3 | 4 | 0.06701 | 0.17103 | 0.0346 | 1
6 | 1.07 | -14.22 | 0 | 12.2 | 11.2 | 7.5 | 6 | 3 | 4 | 0.06701 | 0.17103 | 0.0346 | 0.0173 |  |  |  | 7 | 0 | 1.062 | -13.37 | 0 | 0 | 0 | 0 | 4 | 5 | 0.01335 | 0.04211 | 0.0128 | 1
7 | 1.062 | -13.37 | 0 | 0 | 0 | 0 | 7 | 4 | 5 | 0.01335 | 0.04211 | 0.0128 | 0.0064 |  |  |  | 8 | 2 | 1.09 | -13.36 | 0 | 17.4 | 0 | 0 | 5 | 6 | 0 | 0.25202 | 0 | 0.932
8 | 1.09 | -13.36 | 0 | 17.4 | 0 | 0 | 8 | 5 | 6 | 0 | 0.25202 | 0 | 0 |  |  |  | 9 | 0 | 1.056 | -14.94 | 0 | 0 | 29.5 | 16.6 | 4 | 7 | 0 | 0.20912 | 0 | 0.978
9 | 1.056 | -14.94 | 0 | 0 | 29.5 | 16.6 | 9 | 4 | 7 | 0 | 0.20912 | 0 | 0 |  |  |  | 10 | 0 | 1.051 | -15.1 | 0 | 0 | 9 | 5.8 | 7 | 8 | 0 | 0.17615 | 0 | 1
10 | 1.051 | -15.1 | 0 | 0 | 9 | 5.8 | 10 | 7 | 8 | 0 | 0.17615 | 0 | 0 |  |  |  | 11 | 0 | 1.057 | -14.79 | 0 | 0 | 3.5 | 1.8 | 4 | 9 | 0 | 0.55618 | 0 | 0.969
11 | 1.057 | -14.79 | 0 | 0 | 3.5 | 1.8 | 11 | 4 | 9 | 0 | 0.55618 | 0 | 0 |  |  |  | 12 | 0 | 1.055 | -18.07 | 0 | 0 | 6.1 | 1.6 | 7 | 9 | 0 | 0.11001 | 0 | 1
12 | 1.055 | -18.07 | 0 | 0 | 6.1 | 1.6 | 12 | 7 | 9 | 0 | 0.11001 | 0 | 0 |  |  |  | 13 | 0 | 1.05 | -15.16 | 0 | 0 | 13.5 | 5.8 | 9 | 10 | 0.03181 | 0.0845 | 0 | 1
13 | 1.05 | -15.16 | 0 | 0 | 13.5 | 5.8 | 13 | 9 | 10 | 0.03181 | 0.0845 | 0 | 0 |  |  |  | 14 | 0 | 1.036 | -16.04 | 0 | 0 | 14.9 | 5 | 6 | 11 | 0.09498 | 0.1989 | 0 | 1
14 | 1.036 | -16.04 | 0 | 0 | 14.9 | 5 | 14 | 6 | 11 | 0.09498 | 0.1989 | 0 | 0 | [11 empty] | 6 | 12 | 0.12291 | 0.25581 | 0 | 1
[7 empty] | 15 | 6 | 12 | 0.12291 | 0.25581 | 0 | 0 | [11 empty] | 6 | 13 | 0.06615 | 0.13027 | 0 | 1
[7 empty] | 16 | 6 | 13 | 0.06615 | 0.13027 | 0 | 0 | [11 empty] | 9 | 14 | 0.12711 | 0.27038 | 0 | 1
[7 empty] | 17 | 9 | 14 | 0.12711 | 0.27038 | 0 | 0 | [11 empty] | 10 | 11 | 0.8205 | 0.19207 | 0 | 1
[7 empty] | 18 | 10 | 11 | 0.8205 | 0.19207 | 0 | 0 | [11 empty] | 12 | 13 | 0.22092 | 0.19988 | 0 | 1
[7 empty] | 19 | 12 | 13 | 0.22092 | 0.19988 | 0 | 0 | [11 empty] | 13 | 14 | 0.17093 | 0.34802 | 0 | 1
[7 empty] | 20 | 13 | 14 | 0.17093 | 0.34802 | 0 | 0